| Date: |  |
| --- | --- |

Specifications ZOL 1190 On-Line-Gloss-Measuring-System

| Company |  | # Responsible |  |
| --- | --- | --- | --- |
| Address1 |  | # Function |  |
| Address2 |  | # Tel. No. |  |
| Post code |  | # Fax No. |  |
| City |  | # E-mail |  |
| Country |  | # Web |  |

# Basic information	(with ZPI 1190)

|  | Notice by Zehntner |  |
| --- | --- | --- |
| Implementing Online-System | Date |  |
| Which product will you measure? |  |  |
| Do you roll up the product? | no yes as support for single-product |  |
| Width of the continuous material | min mm max mm |  |
| Thickness of the continuous material | min mm max mm |  |
| Data of cylinder | Ø mm Width mm |  |
| Single-product: Dimensions (if product consists of different smaller parts, such as stickers, plates, etc) Number of single-products Distance between single-products | Length: min mm max mm Width: min mm max mm Thickness: min μm max μm side by side one after another seconds mm |  |
| Speed of the continuous material | vmin m/min vmax m/min |  |
| Composite continuous material Elevations on the continuous material | no yes Height mm varying |  |
| Existing glossmeter | none model |  |
| Existing/required measuring geometry | unknown Measuring geometry ° assumed Measuring geometry ° |  |
| Measuring values | min max expected |  |

|  | Notice by Zehntner |  |
| --- | --- | --- |
| Special requirements out of standards | no yes standard |  |
| Ambient of measuring head | dustfree normal very dusty |  |
| Compressed-air (free of oil, anhydrous) | existing not existing required |  |
| Ambient temperature at measuring head | min °C max °C |  |
| Width of cross-beam | mm |  |
| Cross-beam mounting device (acc. to details of Zehntner GmbH) | existing not existing will be produced by customer |  |
| Introduction bar / -system | not existing existing system: |  |
| Position of the calibration station? | left right (moving direction) |  |
| Location of operation desk Ambient temperature | beside the machine in the office ( air conditioner) min °C max °C |  |
| Length of cable to be laid | meter (measuring head to operation desk) meter (PC to monitor) |  |
| Voltage? | 230V, 50Hz 115V, 60Hz |  |
| Enclosures Drafts of the machine from the place where on-line-gloss-measuring will be carried out will be enclosed not existing Pictures of the machine from the place where the on-line-gloss-measuring shall be mounted will be enclosed not existing Pictures and/or schemes from the place where monitor and operation desk should be set up will be enclosed not existing Samples of the product will be delivered to the functional specification will be delivered in addition ## Remarks |  |  |
| Notice by Zehntner |  |  |
| Special wishes, further ideas / wishes / proposals / sketch of the measuring line-up |  |  |
| Notice by Zehntner |  |  |